Data Type:	Counts

Image Resolution:	512 by 384

Image Pixel Size:	0.11 µm

Map Resolution:	256 by 192

Map Pixel Size:	0.23 µm

Acc. Voltage:	15.0 kV

Magnification:	2000

30min front

Data Type:	Counts

Image Resolution:	512 by 384

Image Pixel Size:	0.11 µm

Map Resolution:	256 by 192

Map Pixel Size:	0.23 µm

Acc. Voltage:	15.0 kV

Magnification:	2000

Mon Feb 10 21:46:52 2020

Filter Fit	Chi² value: 70.042

Correction Method: Proza (Phi-Rho-Z)

Acc.Voltage: 15.0 kV	Take Off Angle: 33.1°

Element	Element	Atom %

Wt.%

C 	   3.13	  12.70

O 	   1.12	   3.41

Al	   0.07	   0.12

Si	   0.33	   0.58

Cr	   0.67	   0.62

Mn	   1.20	   1.07

Fe	  92.92	  81.08

Ni	   0.41	   0.34

Mo	   0.15	   0.08

----------	----------

Total	 100.00	 100.00

Accelerating Voltage:	15.0 kV

Magnification:	2000

Accelerating Voltage:	15.0 kV

Magnification:	2000

Accelerating Voltage:	15.0 kV

Magnification:	2000

Accelerating Voltage:	15.0 kV

Magnification:	2000

Accelerating Voltage:	15.0 kV

Magnification:	2000